## Sheet1
WKU Educational Buildings Fire Log 2021 | Total Fire Alarms in Building for calendar year 2015 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Academic Complex
Ag. Expo Center |  | 1 | 2021-09-29 | 19:57 | caused by cheese smoking machine |  |  |  | 2021-09237
Augustine Alumni Ctr.
Baseball Clubhouse |  | 1 | 2021-12-19 | 16:36 | Dirty smoke Detector |  |  |  | 202114198
CEBS
CEC
Chapel
Charles Taylor Center
Cherry Hall |  | 1 | 12/6 2021 | 9:54 | Burnt PC |  |  |  | 202113664
College High Hall
Craig Alumni
Cravens Grad. Center | 2 | 1 | 2021-03-01 | 14:50 | Dust from construction crew |  |  |  | 2021-0893
|  | 1 | 2021-04-30 | 5:42 | dirty smoke detector in elevator |  |  |  | 2021-2284
DFM
Diddle Arena
Downing Student Union | 1 | 1 | 2021-02-08 | 15:38 | dirty smoke detector in elevator |  |  |  | 2021-0495
Environmental Science and Technology
Faculty House | 1 | 1 | 2021-02-28 | 19:13 | Excess steam in the mechanical room |  |  |  | 2021-0856
|  | 1 | 2021-09-07 | 10:25 | smoke from repairing equipment |  |  |  | 2021-9687
Felt House
Florence Schneider Hall (Gatton Academy)
Garrett Conference Ctr.
Gary Ransdell Hall
Glasgow Campus
Gordon Wilson
Grise Hall
HAZ MAT
Health Services
Heat Plant
Honors Building
Industrial Education
Ivan Wilson FA
Jones Jaggers
Kentucky Building
Learning Center
LT Smith East
LT Smith West
Mass Media | 1 | 1 | 2021-01-10 | 1:54 | BGMU working in the area |  |  |  | 2021-0102
Music Recital Hall
Old Mall/ ICSET
Parking Structure 1
Parking Structure 2 |  | 1 | 2021-08-31 | 0:00 | power washing walls |  |  |  | 2021-3877
Parking Structure 3
Potter Hall |  | 1 | 2021-09-17 | 7:54 | claening supply closert sturred ip dust |  |  |  | 2021-0179
President House
Preston Center
Publication Building
SC/Carrol Knicely
Service Supply | 1 | 1 | 2021-07-11 | 17:07 | mechanical issue |  |  |  | 2021-3007
Snell Hall | 1 | 1 | 2021-02-28 | 17:20 | Excess steam in the mechanical room |  |  |  | 2021-0850
Thompson Center
VanMeter Hall
Wetherby Adm. Building |  | 1 | 2021-07-15 | 14:29 | FA caused by dust from vacuum |  |  |  | 2021-3064
WKU Police |  | 1 | 2021-07-13 | 11:44 | mechanical issue |  |  |  | 2021-3030
Miscellaneous
African American Museum |  | power was was restored causing a fire inside house